ANNUAL WASTEWATER TREATMENT

PERFORMANCE REPORT

JUNE 2020

POLLOCKSVILLE WASTEWATER TREATMENT PLANT

LOCATED AT 488 GOSHEN ROAD

TREATMENT PERMIT

WQ0007283

COLLECTION SYSTEM PERMIT

WQ0007285

The Town operates a wastewater treatment lagoon storage spray field irrigation system located on 60 acres with 23.3 acres of this site used to spray treated effluent on. The collection system consists of 5 mechanical lift stations located at varies sites in the system and the collection piping system.

The Town of Pollocksville is continually maintain and operating the system to Federal (EPA) and NC State (DEQ) standards.

The Town has not had a sewer spill within the collection system.

The town has received the following from NCDEQ :

- Notice of Deficiency

August 2019

Issue: Not performing required testing

- Chlorine, Total Residual

- PH

Corrective action for this issue: The Town is setting up a certified testing Lab at 488 Goshen Road

- Notice of Violation

September 2019

Issue: Monitoring Violation:

- Non Discharge Application Rate

- Non Discharge Application Rate

Corrective actions for issues: Error in reporting the application rates on the wrong days Resubmitting corrected reporting form with correct information to NCDEQ

Issue: Reporting Violation:

- Chlorine, Total Residual

- Nitrogen, Total (as N)

Corrective actions for issues: A- certifying the towns lab

B-Resubmitting corrected required reporting to NCDEQ

- Notice of Violation

October 2019

Issue: Parameter Missing /Nitrogen, Total (as N)

Corrective action for this issue: Resubmitting corrected required reporting to NCDEQ

- Notice of Violation

November 2019

Issue: Parameter Missing/ Calcium, Total (as Ca)

Corrective action for this issue: submitting corrected required reporting for to NCDEQ

This report has been Hand delivered to all active wastewater user or customers on the Town of Pollocksville system. The report has been added to the Town of Pollocksville web site, post in all public buildings, a notice on the customers utilities bill and is available at the Temporary Town Hall location at 9026 Hwy 17 South.

I certify under penalty of law that this report is complete and accurate to the best of my knowledge. I further certify this report has been made available to the users or customers of the Town of Pollocksville and that those users have been notified of its availability.

Johnnie J. Chadwick

Town of Pollocksville

Utilities Operations Operator

Collection System ORC License # 15981

Spray System ORC License # 15590